# SWA-2: Groundwater Source Approval - Kentucky 401 KAR 8:020

## Section 1 - Well Data

Well Depth: 65 ft

Pumping Rate: 450 gpm

## Section 2 - Pumping Test Results

Transmissivity (T): 21.39 ft^2/day

Storativity (S): 0.0014

Specific Yield (Sy): 0.0999

## Section 3 - Aquifer Adequacy

Calculated sustainable yield: N/A (not provided)

## Attachments

- Drawdown curves

- Contour maps

- WHP zones

- Geologic logs

- Pumping test tables