# Hydrogeologic Adequacy Assessment – Dynamic Engineering Report

Pumping Rate: 450.0 gpm

Population Basis: 2,500

Prepared using analytical, numerical, and regulatory-based methods consistent with Ten States Standards and KDOW 401 KAR 8.

# 1. Pumping Test Plots

## 1.1 Pumping Well Drawdown Curve

## 1.2 Observation Well Drawdown Curve

## 1.3 Cooper–Jacob Plot

## 1.4 Theis Fit Plot

## 1.5 Neuman Fit Plot

## 1.6 Numerical Model Contours

## 1.7 Calibration Fit

# 2. Diurnal Demand Curve and Pumping Schedule

## 2.4 Pumping Schedule Summary

Hour 0: Well OFF or low-speed (demand 104.2 gpm)

Hour 1: Well OFF or low-speed (demand 95.5 gpm)

Hour 2: Well OFF or low-speed (demand 90.3 gpm)

Hour 3: Well OFF or low-speed (demand 86.8 gpm)

Hour 4: Well OFF or low-speed (demand 95.5 gpm)

Hour 5: Well OFF or low-speed (demand 121.5 gpm)

Hour 6: Well OFF or low-speed (demand 173.6 gpm)

Hour 7: Well OFF or low-speed (demand 243.1 gpm)

Hour 8: Well OFF or low-speed (demand 208.3 gpm)

Hour 9: Well OFF or low-speed (demand 191.0 gpm)

Hour 10: Well OFF or low-speed (demand 173.6 gpm)

Hour 11: Well OFF or low-speed (demand 164.9 gpm)

Hour 12: Well OFF or low-speed (demand 156.2 gpm)

Hour 13: Well OFF or low-speed (demand 164.9 gpm)

Hour 14: Well OFF or low-speed (demand 191.0 gpm)

Hour 15: Well OFF or low-speed (demand 243.1 gpm)

Hour 16: Well OFF or low-speed (demand 295.1 gpm)

Hour 17: Well OFF or low-speed (demand 277.8 gpm)

Hour 18: Well OFF or low-speed (demand 260.4 gpm)

Hour 19: Well OFF or low-speed (demand 225.7 gpm)

Hour 20: Well OFF or low-speed (demand 191.0 gpm)

Hour 21: Well OFF or low-speed (demand 156.2 gpm)

Hour 22: Well OFF or low-speed (demand 130.2 gpm)

Hour 23: Well OFF or low-speed (demand 112.8 gpm)

# 3. 72-Hour Sustained Pump Test

Simulated maximum drawdown: 667.42 ft; recovery rebound: 0.00 ft.

# 4. Multi-Well Interference Modeling

No multi-well interference dataset supplied.

# 5. Extended Engineering Narrative

## 5.2 Demand vs Supply

Population: 2,500 at 100 gpcd (+15% losses).

Average-day demand: 287,500 gpd (200 gpm).

Max-day demand (PF=1.50): 431,250 gpd.

Max-hour demand (PF=2.50): 29,948 gph.

Well capacity meets Ten States criteria.

## 5.3 Multi-Well Interference Summary

No interference dataset supplied.

## 5.4 72-Hour Stress Test Summary

Simulated maximum drawdown 0.05 ft; terminal recovery -0.05 ft.

## 5.5 Regulatory Summary

Analytical, numerical, and design evaluations collectively show compliance with Ten States Standards and KDOW hydrogeologic investigation requirements.